## Slide 1
KneeWS — Option B · gold-free confident learning · proposal defence
1
SECONDARY METHOD · OPTION B
KneeWS
Knee Weak Supervision
Noise-Aware Weak Supervision from Multilingual Radiology Reports for Multi-Label Knee MRI Analysis — estimating the noise model without spending the expert labels
The problem in one sentence
Only 58 of 4,407 knee MRI studies carry expert labels, the other 4,349 carry radiology reports that disagree with expert readings about one time in six — and if we spend those 58 calibrating our fix, we have nothing independent left to prove it worked.
[ Member 1 ] · [ Member 2 ] · [ Member 3 ]
Supervisor: [ Supervisor name ]
Declared stream: Research-derived (Stream A) Primary SDG: 3 — Good Health and Well-being
This deck presents the secondary method. The registered project, its scope and its ten features are unchanged — only the estimator inside Feature 5 differs.
Notes: Open by making the relationship explicit: this is not a different project. Same title, same scope, same ten features, same CCP claim. What changes is how one quantity is estimated. Then give the one-sentence problem.

## Slide 2
2
OF 10
Problem and users
Who faces it, how it is handled today, and why the failure matters
KneeWS — Option B · gold-free confident learning · proposal defence
2
Who | What they face today | Why the current handling fails
Medical-imaging AI researchers and model developers | Expert annotation is the bottleneck. A study takes two radiologists plus an adjudicator; a dataset takes years. So teams train on labels scraped from reports instead. | The scraping step converts free text to a hard 1 or 0 and treats every finding the report does not mention as absent. That assumption is never measured, and it is silently wrong.
Radiologists in high-volume settings | A knee MRI is read once, by one reader, under time pressure. What gets written is what was clinically relevant to that referral. | Findings that were seen but not worth reporting vanish. They are not negatives — they are silences, and a model trained on them learns the wrong prevalence.
The notional client — the group operating the deployed model | Wants a system that reads a new study from images alone and returns probabilities it can act on. | A model trained on unmeasured noise produces confident numbers with no honest error bar, which is worse than no number at all.
The failure, in one number
Synovitis is present in about 46.6% of expert-read studies in this dataset. It appears in about 3.3% of the reports. Train the standard way and the model learns that synovitis almost never happens — an error of roughly 43 percentage points, introduced entirely by the labelling step.
SDG 3 — Good Health and Well-being
Connection: diagnostic support where expert annotation is scarce. Boundary: the SDG is context for the problem, not the claimed technical contribution and not part of the CCP.
The system is a research and decision-support tool. It is not, and will not be presented as, a clinically validated diagnostic system.
Notes: The synovitis number is the strongest single fact in the deck. 46.6 percent against 3.3 percent. If the panel remembers one thing, make it that. It proves the problem is real, it is specific to this dataset, and it is not something we invented.

## Slide 3
3
OF 10
Existing solutions and prior FYP comparison
Structural comparison — problem, users, approach, evidenced limitation, and what it implies for us
KneeWS — Option B · gold-free confident learning · proposal defence
3
Existing solution / prior FYP | Problem and target users | Core approach | Evidence-based limitation | Implication for our project
CheXpert 2019 / CheXbert 2020 | Chest X-ray researchers; report-to-label conversion | Four states: positive, negative, uncertain, unmentioned. Rule + BERT labeller. | English only. The four states are used as-is — their reliability is never estimated. | We estimate what each state is worth, across ~10 languages, on MRI.
MAPLEZ, MedIA 2025 | Chest imaging; soft supervision from reports | LLM states a verbalised probability, used directly as a soft target. | Gain of only +0.4 AUROC. Depends on the LLM's own calibration, unmeasured for non-English. | Becomes our Arm 4. We estimate reliability from data, not from self-report.
RSNA public baseline (0.891) | Competition entrants | Multilingual rule extractor + DINOv2-small 2.5D image model. | Treats every unmentioned finding as absent — the assumption we believe is costly. | Becomes our Arm 1 baseline; we measure what that assumption costs.
Closest prior FYPs: EarlyRay (F25-064-D), RetinaScope (F25-045-D) | Radiology workflow; retinal disease screening | Images in, labels out. Both development-designated. | Both assume the training labels are correct. Neither treats label quality as a problem. | No departmental FYP has made supervision quality the research object.
Current manual workflow | Radiologists and referring clinicians | Radiologist reads the study and dictates free text for one reader. | No structured multi-label record exists; findings not written down are lost to any later use. | This is the source of the noise we model, not a competitor.
The gap, stated structurally
Four-state report labels exist. Soft targets from reports exist. Quantified omission exists for chest and brain. What does not exist is a per-finding, per-state reliability model estimated for knee MRI, across ten languages, on a dataset where multiple sites share each language — which is the first dataset that lets language bias and institution bias be told apart. Changing the modality alone would not be a contribution; changing what is estimated, and proving it against held-out experts, is.
Notes: Handbook C.10 warns that changing platform, language or model name is not a difference. So lead with the structural difference: everyone else consumes report states, we estimate what they are worth. The prior-FYP row is from the Fall-2025 tab of the departmental repository; the full multi-year scan is still in progress and we should say so if asked.

## Slide 4
4
OF 10
R&D / recent technical work
Every source below changed a decision — research used to decide, not to fill pages
KneeWS — Option B · gold-free confident learning · proposal defence
4
Source / method | Main finding or method | Relevance and limitation | Decision it influenced | Planned evidence
CheXpert / CheXbert (2019–20) | Four-state representation of report findings. | Foundational, but English-only and single modality. | Adopt four states; build our own multilingual labeller. | Hand-audited labeller accuracy across languages.
VisualCheXbert 2021; Wood 2020 / Benger 2023; Fytas 2026 | Unmentioned ≠ absent, measured. Report sensitivity 60–78% in brain MRI; 59% of confirmed chest findings absent from reports. | Proves the problem is real and general. Never measured for knee MRI. | Justifies the whole project; sets omission as a headline metric. | Per-finding, per-language omission estimates for knee MRI.
Gündel & Ghesu, MedIA 2021 | Per-class report reliability estimated on a small expert re-read subset, injected into the loss. | Closest published method to ours. Single language, chest X-ray, two states. | Our primary estimator, extended to 4 states × 12 findings with hierarchical pooling. | Reliability table with credible intervals; ablation against this method.
Northcutt, JAIR 2021; Bernhardt, Nat Comms 2022 | Confident learning — estimate a noise model from a model's own out-of-fold behaviour, no gold labels. | Mature and well-tested, but not applied to four-state report supervision or to MRI. | Becomes our secondary method and an ablation arm. | Estimated noise model validated against the untouched expert set.
RSNA data card + competition rules | 58 gold / 4,349 report-only; hosted LLM APIs not permitted for report text; 9-hour offline notebook. | Hard constraints on what we may build. | Open-weight labeller running in-notebook; two-stage 2.5D to fit 8 GB. | Rules compliance check; runtime measured on target hardware.
Two papers still to be read in full before the novelty claim is written down
Ye et al., Expert Systems with Applications 2026 (label-wise reliability for chest radiography) and Xiao, IEEE TMI 2024 (multi-label positive-unlabelled learning). We name them now rather than discover them later.
Notes: The point of this slide is that the literature changed what we are building, not that we read a lot. Every row's fourth column is a decision. If a panel member asks which source we would drop, the answer is none — each one closed off an option.

## Slide 5
5
OF 10
Complex computing challenge
What is technically hard, and why this is not a course project
KneeWS — Option B · gold-free confident learning · proposal defence
5
# | Characteristic | Claim | Why
1 | Conflicting requirements | Strong | 4,349 noisy studies are needed for signal, yet each one may be wrong; uncertainty must be preserved and simultaneously turned into a usable number; 569 GB of imaging must be processed within 8 GB of video memory.
2 | No obvious solution / depth of analysis | Strong | There is no standard answer to "what is the training target for a finding the report never mentions". It has to be determined experimentally, and the alternatives disagree.
3 | Depth of knowledge | Strong | MRI and DICOM handling, multi-label learning, noisy-label theory, multilingual clinical language, probability calibration, and leakage-safe experimental design must all be combined.
4 | Unfamiliar issues | Strong | Language is nearly a proxy for institution; reports and expert reads disagree systematically; 48 quantities must be estimated from 58 studies. None of this arises in routine development.
5 | Beyond standard practice | Strong | Frameworks supply networks, DICOM readers and language models. None of them decides how noisy report supervision should be modelled or how its effect should be measured.
6 | Diverse stakeholders | Weak — declared | Users are imaging researchers, model developers and domain experts reviewing errors. We do not claim a broad conflicting stakeholder landscape, because there isn't one.
7 | Significant consequences | Moderate | Over-confident predictions matter in a domain that may later inform clinical decisions, which is why uncertainty and failure are evaluated explicitly. No clinical validation is claimed.
8 | Interdependence | Strong | Report interpretation determines reliability, which determines the targets, which determine model behaviour, which is what the disagreement analysis inspects. No part can be solved alone.
9 | Ill-defined requirements or cause | Strong | Whether the noise is class-conditional or severity-dependent is unknown at the start. The POC and the planned experiments exist to reduce that uncertainty.
Why this is not a course project
A course project trains a classifier on labels it is given. Here the labels are the research object — what they are worth has to be estimated, and no framework, template or documented procedure answers that.
We are not manufacturing complexity
Characteristic 6 is marked weak because it is weak. The complexity comes from the dataset and the problem, not from added technologies, and we claim one central CCP rather than several unrelated ones.
Notes: Do not read all nine rows. Lead with 2, 4 and 8, then point at row 6 and say we marked it weak deliberately. Panels notice honesty here — the handbook explicitly warns against inflating every row, so the weak mark is worth more than a ninth strong claim.

## Slide 6
6
OF 10
Proposed solution and contribution
Architecture idea, main modules, and a clear contribution statement
KneeWS — Option B · gold-free confident learning · proposal defence
6
Contribution statement
Existing approaches estimate report reliability by spending a small expert-labelled set, but remain weak when that set is too small to validate the result independently — here, 58 studies against 48 quantities. We will contribute a four-state noise model estimated with no gold labels at all, through confident learning on site-grouped out-of-fold predictions, and evaluate it by comparing the estimate against 58 expert studies that were never used to fit it, on calibration error, per-finding omission rate and macro AUC.
Contribution types claimed
Method — the reliability estimator.
Evaluation — the leakage-safe comparison and the omission measurement.
Data — a four-state multilingual label set for 12 findings.
What we are NOT claiming
Not a new network architecture. Not a leaderboard win. Not clinical validation. The image model is deliberately conventional so that any measured difference is attributable to the labels.
Notes: Read the contribution statement verbatim — it is written to the handbook's template on purpose, and the panel will recognise the shape. Then point at the diagram and say where the novelty sits: one box, the reliability estimation stage. Everything else is engineering around it.

## Slide 7
7
OF 10
POC-lite / feasibility evidence
The riskiest assumption, what we ran, what came back, and what it changed
KneeWS — Option B · gold-free confident learning · proposal defence
7
 | POC 1 — can the estimator work at all? | POC 2 — does the workflow hold together? | POC 3 — do the constraints permit it?
Risky assumption | That 48 reliability quantities (12 findings × 4 states) can be estimated from 58 expert studies. | That report labelling, reliability and image analysis can be one coherent product rather than three scripts. | That 569 GB of DICOM can be processed on an 8 GB laptop GPU, within competition rules.
Input and setup | 58 × 12 = 696 finding-pairs, pooled to state level; partial-pooling arithmetic with intervals. | Clickable high-fidelity prototype, 10 screens, synthetic demo data, hard vs noise-aware toggle. | Rules review; two-stage 2.5D design with a frozen encoder and cached features.
Result | Pooled state rules are estimable with usable intervals. Per-finding cells are not — the median cell holds ~14 pairs. | End-to-end path runs: upload, analyse, draft report, refer; and the research path: label, estimate, compare, inspect. | Hosted LLM APIs not permitted for report text. Feature caching moves head training to minutes on CPU.
What it changed | Partial pooling became the committed design. Per-finding estimation was dropped from committed scope. | Confirmed the ten registered features are one system; institution onboarding moved to optional extension. | Open-weight in-notebook labeller became mandatory; 3D end-to-end training was ruled out.
Confident learning: the joint counts, and the estimate against the sealed 58
Abnormality analysis: twelve probabilities, with abstention
Stated plainly: every number and scan in the prototype is synthetic, no image model has been trained yet, and the dataset figures are second-hand pending first-hand verification. What this POC establishes is feasibility and two design decisions — not results, and we say so before the panel has to ask.
Notes: The handbook is explicit that a slide saying a POC was done is not a POC. Show the screens live if there is time, and state the POC 1 result plainly: the arithmetic told us we could not do what we originally planned, and we changed the design. A POC that disproved an assumption is worth more than one that confirmed it.

## Slide 8
8
OF 10
Evaluation plan and risks
How success will be measured; risks, dependencies, and the tool / API / GenAI boundary
KneeWS — Option B · gold-free confident learning · proposal defence
8
Evaluation question | Our answer
What is the baseline? | Hard pseudo-labelling with unmentioned treated as absent — the approach behind the public 0.891 baseline. Further arms: uncertainty heuristics, MAPLEZ-style verbalised probability, and the gold-fitted reliability model.
What data and cases? | 4,349 report-only studies for training; 58 expert-labelled studies held for validation; site-grouped 5-fold cross-validation, because random folds inflate AUC by about +0.053 here.
What metrics? | Macro AUC across the twelve findings (the competition metric); worst-finding AUC; calibration error on the expert set; per-finding omission estimate; per-language noise profile.
Measurable non-functional criterion | Inference on a new study within 60 seconds on an 8 GB GPU; the full offline pipeline inside the 9-hour notebook budget.
Which failure cases matter? | Rare findings with thin counts; synovitis, where the model may be blind to what it must detect; severity-dependent omission; any site leakage surviving fold construction.
What can the evidence support? | A narrow claim — that modelling report reliability improves calibration and yields the first per-finding omission estimates for knee MRI. We will not claim a large AUC gain; the closest comparator gained +0.4.
Risks, dependencies and committed scope
AUC gain too small to claim — lead with calibration and omission, not accuracy.
Site leakage — site-grouped folds enforced in code from week six.
Prior publication — Ye 2026 and Xiao 2024 read before the claim is written.
Class-conditional assumption fails on subtle findings — measure the gap, report its direction.
Compute limits — two-stage 2.5D, one GPU pass; subset declared if reduced.
The 58 figure is wrong — verified first-hand in week one, before anything is built on it.
Committed scope excludes institution onboarding and formats beyond DICOM and NIfTI — named as optional extensions, not promised.
Tool / API / GenAI boundary
Support: PyTorch, pydicom, scikit-learn, Git.
Core-assist: frozen pretrained encoder; open-weight in-notebook LLM for report labelling — justified, hand-audited, with multilingual rules as fallback.
Core-replacement: none.
The swap test: replace either core-assist component with a comparable alternative and the contribution survives, because we claim the label model and the evaluation, not the backbone. An AI-usage log runs from week one, countersigned.
Notes: Ten marks sit on the tool boundary alone, so do not rush the right-hand box. The swap test is the sentence to say out loud: replace the encoder with any comparable model and our contribution is untouched. That is what separates core-assist from core-replacement in the handbook.

## Slide 9
9
OF 10
Work division and iteration plan
Member-wise responsibilities and milestones
KneeWS — Option B · gold-free confident learning · proposal defence
9
Member | Primary technical ownership | Decisions they own | FYP-1 evidence
Member 1 Data and imaging pipeline | DICOM and NIfTI ingestion, series reconstruction and protocol profiling, preprocessing, frozen-encoder feature caching, site-grouped fold construction. | Slice selection strategy; resampling and normalisation; how sites are identified and grouped; the caching format everything downstream reads. | Working ingestion on real studies; cached features; an automated leakage check on the folds.
Member 2 Labelling and reliability | Multilingual four-state labeller (rules, open-weight LLM, translate-then-label), the four-state matrix, and the reliability estimator with pooling. | How each language is handled; how the three labelling routes are combined; the pooling prior; which findings earn a deviation from the shared estimate. | Four-state matrix over 4,349 studies; hand-audited labeller error rate; reliability table with intervals.
Member 3 Model, evaluation and application | Training arms and the soft-target loss, the metrics and calibration harness, disagreement analysis, and the clinical-facing screens. | Loss formulation for probabilistic targets; which metrics are primary; abstention thresholds; what evidence the interface exposes. | Baseline run with out-of-fold predictions; the comparison harness; the working viewer and analysis screens.
Shared responsibilities
Architecture and integration, quality assurance, the evaluation design itself, ethics and legal compliance, repository discipline, and the defence. Ownership is primary, not exclusive — every member can explain the whole idea.
The scope test applied
Remove any one member and a genuinely difficult subsystem and its evidence disappear — the label pipeline, the estimator, or the evaluation. None of the three is interface work or documentation.
Phase | Milestones
FYP-1 | W1–2 verify dataset facts first-hand and secure storage · W2–4 ingestion and protocol profiling · W4–7 multilingual four-state labeller · W6–8 feature cache and site-grouped folds · W8–10 baseline arm and out-of-fold predictions · W10–13 reliability estimation with intervals · W13–15 checkpoint and the primary-versus-secondary decision
FYP-2 | W16–19 noise-aware training and the remaining arms · W19–22 disagreement and per-language analysis · W22–26 viewer, structured report and referral guidance · W26–28 calibration, evaluation harness and reproducibility packaging · W28–30 acceptance testing with a domain-expert proxy, write-up and defence
Notes: The scope test box is the answer to the question the handbook tells panels to ask. Say it directly: remove any one of us and a hard subsystem plus its evidence vanishes. Nobody here owns only slides or only testing.

## Slide 10
10
OF 10
DEI, Ethics and legal issues
Statements we can be held to, not boilerplate
KneeWS — Option B · gold-free confident learning · proposal defence
10
Diversity, equity and inclusion
The core measurement of this project is an equity measurement.
  We report omission rates per language. If the system degrades for Turkish, Croatian or Greek reporting sites relative to English, our own headline metric exposes it rather than hiding it.
Accessibility is built in, not retrofitted: colour-blind-safe palette, no meaning carried by colour alone, keyboard-navigable review screens, and readable type in the clinical views.
Within the team, primary technical ownership is distributed across the three genuinely difficult subsystems, with a rotating reviewer so no member is confined to interface or documentation work.
Ethics
De-identified public research data. No patient recruitment, no new data collection, no identifiable records handled by the team.
The system abstains rather than guesses.
  Where the confidence range is too wide to act on, it reports abstention instead of a number — the behaviour a decision-support tool should have.
Every screen carries a standing non-diagnostic disclaimer. Referral guidance names a specialist category, never a named doctor, a diagnosis or a treatment.
Failures, disagreements and the limits of the evidence are reported as results, not omitted from them.
No real users can be reached inside two semesters for a clinical tool. Acceptance testing will use a domain-expert proxy, declared now at proposal stage rather than at the final defence.
Legal and professional
RSNA / Kaggle competition data licence and rules observed, including the prohibition on hosted LLM APIs for report text and the offline notebook constraint.
Only open-weight models with permissive licences. All external code, models, datasets and prompts attributed in the dependency disclosure sheet.
No redistribution of DICOM data. Derived features and trained weights only.
An AI-usage log is maintained from week one and countersigned by the supervisor, covering ideation, code generation, debugging, test generation and documentation.
The standing disclaimer, carried on every screen of the system
KneeWS is a medical-imaging research and decision-support system. It is not a clinically validated diagnostic system, it does not provide diagnosis or treatment advice, and its referral guidance names a specialist category only.
Notes: The DEI point is the one that is genuinely ours rather than generic: our headline metric is a per-language equity measurement. Most projects bolt DEI on; here it falls out of the research question, and that is worth saying plainly.